════════════════════════════════════════════════════════════════════════════════

# Internal Audit Plan - ISO 13485 Recertification

════════════════════════════════════════════════════════════════════════════════

Company: BioMedix Diagnostics International

Device: IVD Manufacturing Facility

Device Class: N/A

Generated: 2026-02-07

════════════════════════════════════════════════════════════════════════════════

*** SAMPLE DOCUMENT - FOR DEMONSTRATION ONLY ***

# INTERNAL AUDIT PLAN - BIOMEDIX DIAGNOSTICS INTERNATIONAL

# EXECUTIVE SUMMARY

## Audit Purpose and Objectives

## Standards Being Audited Against

# AUDIT SCOPE PER PROCESS

## QMS Processes Coverage

| Process Area | ISO 13485 Clauses | MDR/IVDR Articles | Expected Evidence/Records |
| --- | --- | --- | --- |
| Management Responsibility | 4.1, 4.2, 5.1-5.6 | Art. 10, 15 | Management review records, Quality policy, Organizational charts |
| Design Control | 7.3 | Art. 10.9, Annex II | Design files, Verification/validation reports, Risk management files |
| Production & Service | 7.1, 7.2, 7.5 | Art. 10.8, 10.9 | Production records, Work instructions, Environmental monitoring |
| Supplier Management | 7.4 | Art. 22, 27 | Supplier evaluations, Purchase orders, Incoming inspection records |
| CAPA | 8.2.2, 8.5 | Art. 10.2 | CAPA records, Root cause analyses, Effectiveness reviews |
| Post-Market Surveillance | 8.2.1, 8.2.3 | Art. 83-92, IVDR Art. 78-87 | Vigilance reports, Complaint handling, Field safety notices |
| Risk Management | 7.1 | ISO 14971, Art. 10.1 | Risk management files, Clinical evaluation reports |
| Document Control | 4.2.3, 4.2.4 | Art. 10.3 | Document control procedures, Master document lists |
| Training & Competence | 6.2 | Art. 10.9 | Training records, Competency assessments |
| Internal Audit | 8.2.2 | Art. 10.2 | Audit reports, Audit schedules, Competency records |
| Nonconforming Product | 8.3 | Art. 10.2 | NC reports, Disposition records, Investigation reports |
| Traceability | 7.5.3 | Art. 27 | Lot records, Traceability matrices, UDI implementation |

# AUDIT SCHEDULE AND CALENDAR

## Recommended Audit Duration

## Detailed Day-by-Day Schedule

| Day | Time | Process/Area | Auditee | Duration |
| --- | --- | --- | --- | --- |
| Day 1 - March 15, 2024 |  |  |  |  |
|  | 09:00-09:30 | Opening Meeting | Management Team | 30 min |
|  | 09:30-10:30 | Management Responsibility | CEO, Quality Director | 60 min |
|  | 10:30-10:45 | Break |  | 15 min |
|  | 10:45-12:00 | Document Control & Training | QA Manager, HR Manager | 75 min |
|  | 12:00-13:00 | Lunch |  | 60 min |
|  | 13:00-14:30 | Design Control (Part 1) | R&D Manager, Design Engineers | 90 min |
|  | 14:30-14:45 | Break |  | 15 min |
|  | 14:45-16:00 | Design Control (Part 2) | Clinical Affairs Manager | 75 min |
|  | 16:00-16:30 | Day 1 Wrap-up | Audit Team | 30 min |
| Day 2 - March 16, 2024 |  |  |  |  |
|  | 08:30-10:00 | Production & Manufacturing | Production Manager, Operators | 90 min |
|  | 10:00-10:15 | Break |  | 15 min |
|  | 10:15-11:45 | Supplier Management | Procurement Manager, QA | 90 min |
|  | 11:45-13:00 | Lunch |  | 75 min |
|  | 13:00-14:30 | Risk Management | Risk Manager, Clinical Team | 90 min |
|  | 14:30-14:45 | Break |  | 15 min |
|  | 14:45-16:00 | Traceability & Labeling | Logistics Manager, QA | 75 min |
|  | 16:00-16:30 | Day 2 Review | Audit Team | 30 min |
| Day 3 - March 17, 2024 |  |  |  |  |
|  | 08:30-10:00 | Post-Market Surveillance | Vigilance Officer, Customer Service | 90 min |
|  | 10:00-10:15 | Break |  | 15 min |
|  | 10:15-11:45 | CAPA System | QA Manager, Process Owners | 90 min |
|  | 11:45-13:00 | Lunch |  | 75 min |
|  | 13:00-14:30 | Nonconforming Product | QA Manager, Production | 90 min |
|  | 14:30-14:45 | Break |  | 15 min |
|  | 14:45-16:00 | Internal Audit Program | Internal Auditors, QA | 75 min |
|  | 16:00-16:30 | Day 3 Review | Audit Team | 30 min |
| Day 4 - March 18, 2024 |  |  |  |  |
|  | 08:30-10:00 | Record Review & Sampling | Various Departments | 90 min |
|  | 10:00-10:15 | Break |  | 15 min |
|  | 10:15-11:30 | Regulatory Compliance Review | Regulatory Affairs Manager | 75 min |
|  | 11:30-13:00 | Lunch |  | 90 min |
|  | 13:00-14:30 | Audit Team Deliberation | Audit Team Only | 90 min |
|  | 14:30-15:00 | Management Presentation Prep | Audit Team Only | 30 min |
|  | 15:00-15:15 | Break |  | 15 min |
|  | 15:15-16:00 | Closing Meeting | Management Team | 45 min |

# AUDIT CHECKLIST

## Process-Specific Audit Questions

| Process | Clause | Question | Finding Category |
| --- | --- | --- | --- |
| Management Responsibility | ISO 13485:5.1 | Does top management demonstrate commitment to QMS development and implementation? | Major NC / Minor NC / Observation / OFI |
|  | ISO 13485:5.3 | Has top management established a quality policy appropriate to the organization? | Major NC / Minor NC / Observation / OFI |
|  | ISO 13485:5.5.2 | Has management appointed a management representative with defined responsibilities? | Major NC / Minor NC / Observation / OFI |
|  | ISO 13485:5.6 | Are management reviews conducted at planned intervals with documented outcomes? | Major NC / Minor NC / Observation / OFI |
| Design Control | ISO 13485:7.3.2 | Are design and development inputs documented and reviewed for adequacy? | Major NC / Minor NC / Observation / OFI |
|  | ISO 13485:7.3.3 | Do design outputs meet input requirements and provide appropriate information? | Major NC / Minor NC / Observation / OFI |
|  | ISO 13485:7.3.4 | Are design reviews conducted at suitable stages with documented results? | Major NC / Minor NC / Observation / OFI |
|  | ISO 13485:7.3.5 | Is design verification performed to ensure outputs meet input requirements? | Major NC / Minor NC / Observation / OFI |
|  | ISO 13485:7.3.6 | Is design validation performed under defined operating conditions? | Major NC / Minor NC / Observation / OFI |
|  | MDR Art. 10.9 | Are design controls implemented according to harmonized standards? | Major NC / Minor NC / Observation / OFI |
| Production & Service | ISO 13485:7.5.1 | Is production controlled and validated according to documented procedures? | Major NC / Minor NC / Observation / OFI |
|  | ISO 13485:7.5.2 | Are processes validated where output cannot be verified by monitoring? | Major NC / Minor NC / Observation / OFI |
|  | ISO 13485:7.5.3 | Is product identification and traceability maintained throughout realization? | Major NC / Minor NC / Observation / OFI |
|  | MDR Art. 27 | Is UDI system implemented for applicable devices? | Major NC / Minor NC / Observation / OFI |
| Supplier Management | ISO 13485:7.4.1 | Are suppliers evaluated and selected based on their ability to supply conforming product? | Major NC / Minor NC / Observation / OFI |
|  | ISO 13485:7.4.2 | Do purchasing documents specify requirements for approval of product and procedures? | Major NC / Minor NC / Observation / OFI |
|  | ISO 13485:7.4.3 | Is incoming product verified according to documented arrangements? | Major NC / Minor NC / Observation / OFI |
| CAPA | ISO 13485:8.5.2 | Are corrective actions taken to eliminate causes of nonconformities? | Major NC / Minor NC / Observation / OFI |
|  | ISO 13485:8.5.3 | Are preventive actions implemented to eliminate causes of potential nonconformities? | Major NC / Minor NC / Observation / OFI |
|  | MDR Art. 10.2 | Is there a system for collecting and reviewing information from production phase? | Major NC / Minor NC / Observation / OFI |
| Post-Market Surveillance | ISO 13485:8.2.1 | Is customer feedback monitored as measurement of QMS performance? | Major NC / Minor NC / Observation / OFI |
|  | MDR Art. 83 | Is post-market surveillance system established and maintained? | Major NC / Minor NC / Observation / OFI |
|  | MDR Art. 87 | Are incident reports submitted within required timeframes? | Major NC / Minor NC / Observation / OFI |
|  | IVDR Art. 78 | Is post-market surveillance plan implemented for IVD devices? | Major NC / Minor NC / Observation / OFI |
| Risk Management | ISO 13485:7.1 | Are risk management activities planned and documented? | Major NC / Minor NC / Observation / OFI |
|  | ISO 14971 | Is risk management process applied throughout product lifecycle? | Major NC / Minor NC / Observation / OFI |
|  | MDR Annex I | Are clinical evaluation and post-market clinical follow-up conducted? | Major NC / Minor NC / Observation / OFI |
| Document Control | ISO 13485:4.2.3 | Are documents controlled according to documented procedure? | Major NC / Minor NC / Observation / OFI |
|  | ISO 13485:4.2.4 | Are quality records controlled to provide evidence of conformity? | Major NC / Minor NC / Observation / OFI |
| Internal Audit | ISO 13485:8.2.2 | Are internal audits conducted at planned intervals? | Major NC / Minor NC / Observation / OFI |
|  | ISO 13485:8.2.2 | Are audit results reported to management and nonconformities corrected? | Major NC / Minor NC / Observation / OFI |
| Traceability | ISO 13485:7.5.3.2 | Are records of component/material suppliers maintained? | Major NC / Minor NC / Observation / OFI |
|  | ISO 13485:7.5.3.3 | Is status of product identified throughout production and delivery? | Major NC / Minor NC / Observation / OFI |

# AUDIT TEAM AND RESOURCES

## Team Composition Requirements

## Required Competencies

# REPORTING AND FOLLOW-UP

## Reporting Timeline

## NC Closure Process

## Deviation Category Definitions

| Category | Definition | Characteristics |
| --- | --- | --- |
| Major NC | Significant deviation that affects product safety, regulatory compliance, or QMS effectiveness | - Absence of required system element<br>- Total breakdown of system requirement<br>- Any situation that could result in unsafe product<br>- Regulatory non-compliance with potential market impact |
| Minor NC | Deviation that does not significantly affect QMS effectiveness but requires correction | - Isolated failure of system requirement<br>- Documentation gaps without safety impact<br>- Procedural non-compliance without system breakdown<br>- Single occurrence of requirement deviation |
| Observation | Area of concern that could develop into nonconformity if not addressed | - Trend indicators<br>- Inconsistent implementation<br>- Areas requiring attention<br>- Potential for improvement identified |
| OFI | Opportunity for Improvement - suggestion for enhancement beyond basic compliance | - Best practice recommendations<br>- Efficiency improvements<br>- Process optimization suggestions<br>- Voluntary enhancements to exceed requirements |

## Final Report Structure

════════════════════════════════════════════════════════════════════════════════

# APPROVAL SIGNATURES

Prepared by: _________________ Date: __________

Reviewed by: _________________ Date: __________

Approved by: _________________ Date: __________

*** SAMPLE DOCUMENT - FOR DEMONSTRATION ONLY ***