════════════════════════════════════════════════════════════════════════════════

# Clinical Evaluation Report - MEDDEV 2.7/1 Rev 4

════════════════════════════════════════════════════════════════════════════════

Company: EuroJoint Implants S.A.

Device: TotalFlex Knee System

Device Class: III

Generated: 2026-02-07

════════════════════════════════════════════════════════════════════════════════

*** SAMPLE DOCUMENT - FOR DEMONSTRATION ONLY ***

# CLINICAL EVALUATION REPORT

## 1. Executive Summary

## 2. Device Description

### 2.1 Technical Specifications

| Component | Material | Specifications |
| --- | --- | --- |
| Femoral Component | CoCrMo Alloy | Anatomical design, multiple sizes |
| Tibial Baseplate | Titanium Alloy | Porous coating, modular |
| Tibial Insert | UHMWPE | Cross-linked, vitamin E stabilized |
| Patellar Component | UHMWPE | Dome-shaped, cemented |

## 3. Clinical Claims

| Claim ID | Clinical Claim | Evidence Required |
| --- | --- | --- |
| CC-01 | Restores knee joint function and mobility | Clinical studies, literature |
| CC-02 | Achieves 10-year survivorship >95% | Registry data, publications |
| CC-03 | Significant pain reduction (VAS >4 points) | Clinical outcome studies |
| CC-04 | Enables ROM target of 120 degrees flexion | Functional outcome data |

## 4. Literature Search Methodology

### 4.1 Search Strategy

### 4.2 Inclusion/Exclusion Criteria

| Inclusion Criteria | Exclusion Criteria |
| --- | --- |
| Human clinical studies | Animal studies |
| Peer-reviewed publications | Case reports <5 patients |
| Outcome data reported | Non-English language |
| Total knee arthroplasty | Unicompartmental designs only |

## 5. Literature Review Results

### 5.1 Key Publications

| # | PMID | Title | Authors | Journal | Year |
| --- | --- | --- | --- | --- | --- |
| 1 | 34633511 | Clinical radiographic outcomes and survivorship of medial pi... | Alessio-Mazzola M, Clemente A, Russo A | Arch Orthop Trauma Surg | 2022 |
| 2 | 38626864 | Cementless Total Knee Arthroplasty: Does Age Affect Survivor... | Maniar AR, Howard JL, Somerville LE | J Arthroplasty | 2024 |
| 3 | 35638705 | Incorporating Expected Outcomes Into Clinical Decision-Makin... | Ghomrawi HMK, Riddle DL, Hasan MM | Arthritis Care Res (Hoboken) | 2023 |
| 4 | 37003457 | Minimum 5-Year Clinical Outcomes and Survivorship for a Sing... | Lim JBT, Somerville L, Vasarhelyi EM | J Arthroplasty | 2023 |
| 5 | 35415836 | Clinical Outcomes After Computed Tomography-Based Total Knee... | Marchand RC, Bhowmik-Stoker M, Chen Z | Surg Technol Int | 2022 |
| 6 | 38823515 | Clinical Outcomes and Survivorship of Lateral Unicompartment... | Harkin W, Kurina S, Berger A | J Arthroplasty | 2024 |
| 7 | 34756977 | Total Knee Arthroplasty in Hemophilia: Survivorship and Outc... | Fenelon C, Murphy EP, Fahey EJ | J Arthroplasty | 2022 |
| 8 | 31036450 | Robot-Assisted Total Knee Arthroplasty Does Not Improve Long... | Jeon SW, Kim KI, Song SJ | J Arthroplasty | 2019 |
| 9 | 31154844 | Total knee arthroplasty after distal femoral osteotomy long-... | Chalmers BP, Limberg AK, Athey AG | Bone Joint J | 2019 |
| 10 | 33642111 | Clinical Outcomes in Isolated Tibial Revision With Cruciate ... | Tracey RW, Akram F, Della Valle CJ | J Arthroplasty | 2021 |
| 11 | 37286054 | Survivorship and Clinical Outcomes of Primary Total Knee Art... | Cheng R, Krell EC, Chiu YF | J Arthroplasty | 2023 |
| 12 | 29656129 | No difference in implant survivorship and clinical outcomes ... | Zhou K, Yu H, Li J | Int J Surg | 2018 |
| 13 | 37294990 | Survivorship, clinical outcomes and indications for revision... | Puvanendran A, Jaibaji M, Volpin A | Acta Orthop Belg | 2023 |
| 14 | 40023458 | The John N. Insall Award: Functional Versus Mechanical Align... | Young SW, Tay ML, Kawaguchi K | J Arthroplasty | 2025 |
| 15 | 23006218 | Long-term clinical outcomes and survivorship after total kne... | Hopley CD, Crossett LS, Chen AF | J Arthroplasty | 2013 |
| 16 | 31674235 | Reliable outcomes and survivorship of primary total knee art... | Chalmers BP, Mehrotra KG, Sierra RJ | Bone Joint J | 2019 |
| 17 | 38759819 | A Comparison of Clinical Outcomes After Total Knee Arthropla... | Siljander BR, Chandi SK, Cororaton AD | J Arthroplasty | 2024 |
| 18 | 38642542 | Mid-term survivorship and clinical outcomes of revision knee... | Fawley D, Croker S, Empson J | Knee | 2024 |
| 19 | 32559788 | Cementless Tritanium Baseplate Total Knee Arthroplasty: Surv... | Tarazi JM, Salem HS, Ehiorobo JO | J Knee Surg | 2020 |
| 20 | 24582161 | A systematic review of clinical outcomes and survivorship af... | Hopley CD, Dalury DF | J Arthroplasty | 2014 |

## 6. Clinical Data Analysis

### 6.1 Safety Outcomes

| Complication | Literature Rate | Device Rate | Assessment |
| --- | --- | --- | --- |
| Deep Infection | 1-2% | 0.8% | Favorable |
| Revision (any cause) | 5-8% at 10yr | 4.2% | Favorable |
| DVT/PE | 1-3% | 1.5% | Comparable |
| Periprosthetic Fracture | 0.5-2% | 0.6% | Comparable |

### 6.2 Performance Outcomes

| Outcome Measure | Baseline | Follow-up | Improvement |
| --- | --- | --- | --- |
| VAS Pain Score | 7.8 ± 1.2 | 1.9 ± 1.1 | 5.9 points |
| Knee Society Score | 45 ± 12 | 92 ± 8 | 47 points |
| Range of Motion | 95° ± 18° | 118° ± 12° | 23° |
| WOMAC Score | 68 ± 14 | 18 ± 9 | 50 points |

## 7. Benefit-Risk Analysis

### 7.1 Clinical Benefits

### 7.2 Clinical Risks

### 7.3 Benefit-Risk Determination

## 8. Post-Market Clinical Follow-up (PMCF) Plan

### 8.1 PMCF Objectives

### 8.2 PMCF Activities

| Activity | Frequency | Responsibility |
| --- | --- | --- |
| Literature review update | Annual | Regulatory Affairs |
| Registry data analysis | Annual | Clinical Affairs |
| Complaint trend analysis | Quarterly | Quality |
| User surveys | Biannual | Clinical Affairs |

## 9. Conclusions

## 10. References

════════════════════════════════════════════════════════════════════════════════

# APPROVAL SIGNATURES

Prepared by: _________________ Date: __________

Reviewed by: _________________ Date: __________

Approved by: _________________ Date: __________

*** SAMPLE DOCUMENT - FOR DEMONSTRATION ONLY ***