════════════════════════════════════════════════════════════════════════════════

# SOP-001: Corrective and Preventive Action (CAPA)

════════════════════════════════════════════════════════════════════════════════

Company: NexGen Medical Technologies GmbH

Device: CardioSync 5000 - Cardiac Rhythm Management System

Device Class: III

Generated: 2026-02-07

════════════════════════════════════════════════════════════════════════════════

*** SAMPLE DOCUMENT - FOR DEMONSTRATION ONLY ***

# STANDARD OPERATING PROCEDURE

## CORRECTIVE AND PREVENTIVE ACTION (CAPA)

# PURPOSE

# SCOPE

# RESPONSIBILITIES

## Quality Manager

## CAPA Coordinator

## Process Owners/Department Heads

## CAPA Team Members

## Senior Management

# DEFINITIONS

| Term | Definition |
| --- | --- |
| CAPA | Corrective and Preventive Action - systematic approach to eliminate causes of nonconformities and prevent recurrence |
| Corrective Action | Action taken to eliminate the cause of a detected nonconformity or other undesirable situation |
| Preventive Action | Action taken to eliminate the cause of a potential nonconformity or other undesirable potential situation |
| Root Cause | The fundamental reason for the occurrence of a problem, which if eliminated, would prevent recurrence |
| Root Cause Analysis (RCA) | Systematic process used to identify the underlying causes of problems or events |
| Nonconformity | Non-fulfillment of a requirement |
| Effectiveness Verification | Process to confirm that implemented actions have achieved their intended results |
| CAPA Request | Formal documentation initiating the CAPA process |
| Risk Assessment | Systematic process to identify, analyze, and evaluate risks associated with identified issues |
| Trend Analysis | Statistical evaluation of data over time to identify patterns or recurring issues |

# PROCEDURE

## 1. CAPA Initiation and Request Submission

### 1.1 CAPA Triggering Events

### 1.2 CAPA Request Documentation

### 1.3 CAPA Priority Classification

| Priority Level | Criteria | Response Time |
| --- | --- | --- |
| Critical | Immediate threat to patient safety, regulatory compliance, or business continuity | 24 hours |
| High | Significant impact on product quality, customer satisfaction, or regulatory requirements | 72 hours |
| Medium | Moderate impact on operations, quality, or compliance | 1 week |
| Low | Minor issues with limited impact on quality or operations | 2 weeks |

## 2. CAPA Evaluation and Acceptance

### 2.1 Initial Review Process

### 2.2 CAPA Team Formation

### 2.3 Preliminary Assessment

## 3. Problem Investigation and Root Cause Analysis

### 3.1 Data Collection and Analysis

### 3.2 Root Cause Analysis Methodology

### 3.3 Root Cause Verification

## 4. Corrective and Preventive Action Planning

### 4.1 Action Development Criteria

### 4.2 Action Plan Documentation

### 4.3 Risk Assessment and Mitigation

## 5. CAPA Implementation

### 5.1 Implementation Authorization

### 5.2 Implementation Execution

### 5.3 Implementation Verification

## 6. Effectiveness Verification

### 6.1 Verification Planning

### 6.2 Verification Methods

| Verification Type | Application | Duration |
| --- | --- | --- |
| Statistical Monitoring | Process performance metrics, defect rates | 3-6 months minimum |
| Customer Feedback Analysis | Complaint trends, satisfaction surveys | 6-12 months |
| Audit Verification | System compliance, procedure adherence | Next scheduled audit cycle |
| Performance Testing | Product functionality, specification compliance | As per test protocol |
| Field Performance Monitoring | Post-market surveillance, real-world performance | 12-24 months |

### 6.3 Effectiveness Assessment

## 7. CAPA Closure

### 7.1 Closure Criteria

### 7.2 Closure Documentation

### 7.3 Communication and Knowledge Sharing

## 8. CAPA System Monitoring and Review

### 8.1 Performance Metrics

| Metric | Target | Measurement Method |
| --- | --- | --- |
| On-time Closure Rate | >95% | CAPAs closed within planned timeframe |
| Effectiveness Rate | >90% | CAPAs effective on first verification |
| Average Cycle Time | <60 days | Time from initiation to closure |
| Recurrence Rate | <5% | Same issues requiring new CAPAs within 12 months |
| Overdue CAPA Count | <10 | Number of CAPAs exceeding planned dates |

### 8.2 Trend Analysis and Reporting

## 9. Training and Competency

### 9.1 Training Requirements

### 9.2 Competency Assessment

# RECORDS

## 10.1 CAPA Documentation Requirements

### Primary CAPA File Contents:

### Supporting Documentation:

## 10.2 Record Retention and Storage

| Document Type | Retention Period | Storage Location |
| --- | --- | --- |
| CAPA Files | Life of device + 7 years minimum | Electronic CAPA database with backup |
| Investigation Data | Same as CAPA file | Controlled document repository |
| Training Records | Duration of employment + 7 years | Human Resources database |

════════════════════════════════════════════════════════════════════════════════

# APPROVAL SIGNATURES

Prepared by: _________________ Date: __________

Reviewed by: _________________ Date: __________

Approved by: _________________ Date: __________

*** SAMPLE DOCUMENT - FOR DEMONSTRATION ONLY ***